MID accessory set for Belimo EV,
consisting of locking valve and
temperature-measuring ball valve for
sensor integration, directly submersible.
DN:  20

Manufacturer: Belimo
Type: EXT-EF-20C