MID accessory set with adapter piece,
consisting of 2 x locking valve,
temperature-measuring ball valve for
sensor integration, directly submersible,
and adapter piece.
DN:  25
Length of adapter piece: 135 mm

Manufacturer: Belimo
Type: EXT-EF-25B