MID temperature measurement ball valve 
for T1 sensor installation 
direct-immersing
M10x1 instrument nozzle, suitable for
22PEM-1U...
DN: 25

Make: Belimo
Model: EXT-EF-25E