MID accessory set with adapter piece,
consisting of 2 x locking valves,
temerpature-measuring ball valve for
sensor integration, directly submersible,
and adapter piece.
DN:  32
Length of adapter piece: 140 mm

Manufacturer: Belimo
Type: EXT-EF-32B